Sample Workplace Inspection Checklist

| Location | Date/Time of Inspection |
| --- | --- |
| Inspectors: |  |

| No. | Item | Status |  |  |
| --- | --- | --- | --- | --- |
| 1 | Floors |  |  |  |
| .1 | Floors clean and clear of waste | □ S | □ U | □ N/A |
| .2 | Good traction/condition - safe footing | □ S | □ U | □ N/A |
| .3 | Signs posted to warn of wet floors | □ S | □ U | □ N/A |
| .4 | No tripping hazards | □ S | □ U | □ N/A |
| .5 | No worn or loose flooring or carpet | □ S | □ U | □ N/A |
| .6 | No protruding objects (nails, wires) | □ S | □ U | □ N/A |
| 2 | Stairways & Aisles |  |  |  |
| .1 | Aisles unobstructed - clearly marked | □ S | □ U | □ N/A |
| .2 | Mirrors installed at blind corners | □ S | □ U | □ N/A |
| .3 | Aisles not congested | □ S | □ U | □ N/A |
| .4 | Aisles wide enough for normal traffic | □ S | □ U | □ N/A |
| .5 | File drawers not left open as obstructions | □ S | □ U | □ N/A |
| .6 | Escape routes not congested | □ S | □ U | □ N/A |
| .7 | Escape routes meet provincial standard | □ S | □ U | □ N/A |
| .8 | Lighting adequate - walkways well lit | □ S | □ U | □ N/A |
| .9 | Emergency lighting functioning correctly | □ S | □ U | □ N/A |
| .10 | No faulty stair treads | □ S | □ U | □ N/A |
| 3 | Equipment & Machinery Maintenance |  |  |  |
| .1 | Equipment/Machinery not damaged | □ S | □ U | □ N/A |
| .2 | Machine guards in place and effective | □ S | □ U | □ N/A |
| .3 | Tools in proper operating condition | □ S | □ U | □ N/A |
| .4 | Drip pans/absorbent material available | □ S | □ U | □ N/A |
| .5 | Furniture in proper operating condition | □ S | □ U | □ N/A |
| .6 | Ladders in good operating condition | □ S | □ U | □ N/A |
| .7 | Ladders properly placed or stored | □ S | □ U | □ N/A |
| 4 | Waste Disposal |  |  |  |
| .1 | Adequate number of containers | □ S | □ U | □ N/A |
| .2 | Appropriate containers for toxic or flammable waste | □ S | □ U | □ N/A |
| .3 | Waste containers located where waste produced | □ S | □ U | □ N/A |
| .4 | Waste containers emptied regularly | □ S | □ U | □ N/A |
| .5 | Waste chemicals handled properly | □ S | □ U | □ N/A |

| No. | Item | Status |  |  |
| --- | --- | --- | --- | --- |
| 5 | Storage |  |  |  |
| .1 | Storage areas appropriate for materials being stored | □ S | □ U | □ N/A |
| .2 | Material stacked securely and accessible | □ S | □ U | □ N/A |
| .3 | Bins/racks provided where material cannot be safely stacked | □ S | □ U | □ N/A |
| .4 | Materials stored so as not to interfere with work areas | □ S | □ U | □ N/A |
| .5 | Storage areas clearly marked | □ S | □ U | □ N/A |
| 6 | Emergency Equipment |  |  |  |
| .1 | Extinguishers inspected annually and tags signed | □ S | □ U | □ N/A |
| .2 | Extinguishers not obstructed and easily identified | □ S | □ U | □ N/A |
| .3 | Extinguishers appropriate for the types of fire they must control | □ S | □ U | □ N/A |
| .4 | Sprinklered rooms clear of stored materials 12" from ceiling | □ S | □ U | □ N/A |
| .5 | Emergency lighting in place and operating properly | □ S | □ U | □ N/A |
| .6 | First aid kits present and complete | □ S | □ U | □ N/A |
| .7 | Eye wash stations present with fluid in date | □ S | □ U | □ N/A |
| 7 | Lighting |  |  |  |
| .1 | Lamp reflectors clean | □ S | □ U | □ N/A |
| .2 | Lighting adequate for work being performed | □ S | □ U | □ N/A |
| .3 | Lamps not next to flammable objects | □ S | □ U | □ N/A |
| 8 | HVAC System |  |  |  |
| .1 | No persistent odours or fumes | □ S | □ U | □ N/A |
| .2 | Area heating appropriate for occupancy | □ S | □ U | □ N/A |
| .3 | Humidity appropriate for occupancy | □ S | □ U | □ N/A |
| .4 | Ventilation openings properly screened | □ S | □ U | □ N/A |
| 9 | Hazardous Materials/Dangerous Goods |  |  |  |
| .1 | Hazardous materials and dangerous goods have been identified | □ S | □ U | □ N/A |
| .2 | Hazardous materials inventory completed | □ S | □ U | □ N/A |
| .3 | MSDSs available for all hazardous materials | □ S | □ U | □ N/A |
| .4 | Materials and goods properly stored (appropriate segregation) | □ S | □ U | □ N/A |
| .5 | Materials and goods properly labeled | □ S | □ U | □ N/A |
| 10 | Sanitation - Washrooms |  |  |  |
| .1 | Washrooms clean | □ S | □ U | □ N/A |
| .2 | Fixtures not damaged or leaking | □ S | □ U | □ N/A |
| .3 | Soaps/paper towels/toilet paper present | □ S | □ U | □ N/A |

| No. | Item | Status |  |  |
| --- | --- | --- | --- | --- |
| 11 | Sanitation - Food Preparation Areas |  |  |  |
| .1 | Consumables properly stored | □ S | □ U | □ N/A |
| .2 | Food residues properly discarded | □ S | □ U | □ N/A |
| .3 | Food preparation areas clean | □ S | □ U | □ N/A |
| .4 | Crumb traps cleaned | □ S | □ U | □ N/A |
| .5 | Cleaning materials stored away from food storage/preparation areas | □ S | □ U | □ N/A |
| .6 | Small appliances unplugged when not in use | □ S | □ U | □ N/A |
| .7 | Cleaning cloths in sanitary condition | □ S | □ U | □ N/A |
| .8 | Sink faucets and drains operating correctly | □ S | □ U | □ N/A |
| .9 | Fridge interior clean - no food residue | □ S | □ U | □ N/A |
| 12 | Security |  |  |  |
| .1 | Security locks functioning properly | □ S | □ U | □ N/A |
| .2 | Doors and windows secured after hours | □ S | □ U | □ N/A |
| .3 | Emergency plan posted | □ S | □ U | □ N/A |
| .4 | Confidential materials not left unattended | □ S | □ U | □ N/A |
| .5 | Confidential papers properly disposed of | □ S | □ U | □ N/A |
| 13 | Electrical Safety |  |  |  |
| .1 | Extension cords for temporary use only | □ S | □ U | □ N/A |
| .2 | Wall outlets not damaged | □ S | □ U | □ N/A |
| .3 | No exposed or bare wires | □ S | □ U | □ N/A |
| .4 | Breaker panel covers closed | □ S | □ U | □ N/A |
| .5 | Power cords not to cross walkways | □ S | □ U | □ N/A |
| .6 | Temporary cords taped in place | □ S | □ U | □ N/A |
| .7 | Power cords and plugs in good condition | □ S | □ U | □ N/A |
| 14 | General Housekeeping |  |  |  |
| .1 | Wall and ceiling fixtures fastened securely | □ S | □ U | □ N/A |
| .2 | Damaged fixtures/equipment clearly marked | □ S | □ U | □ N/A |
| .3 | Paper and waste properly disposed of | □ S | □ U | □ N/A |
| .4 | Desk and file drawers closed when not in use | □ S | □ U | □ N/A |
| .5 | File cabinets filled from the bottom up | □ S | □ U | □ N/A |
| .6 | File cabinet drawers not overloaded | □ S | □ U | □ N/A |
| .7 | Materials not stacked on desks or chairs | □ S | □ U | □ N/A |
| .8 | Filing stools and wastebaskets not placed where they may be tripping hazards | □ S | □ U | □ N/A |
| 15 | Other |  |  |  |
|  |  | □ S | □ U | □ N/A |
|  |  | □ S | □ U | □ N/A |
|  |  | □ S | □ U | □ N/A |
|  |  | □ S | □ U | □ N/A |
|  |  | □ S | □ U | □ N/A |
|  |  | □ S | □ U | □ N/A |